## Product Status Reference
http://www.rockwellautomation.com/global/solutions-services/capabilities/migration-solutions/product-search/results.page
Controller Hardware | Instrumentation
ACTIVE | ACTIVE
ACTIVE MATURE | ACTIVE MATURE
END OF LIFE | END OF LIFE
DISCONTINUED | DISCONTINUED

## Controllogix
SITE ID | SITE NAME | [8 empty] | COMM MODULE |  | POWER SUPPLY |  | DI | DO | AI | AO | OTHER/SPECIALTY MODULES |  |  |  | SPARE I/O |  |  |  | COMMENTS
|  | 1756-A7 | 1756-A10 | 1756-A13 | 1756-A17 | 1756-L72 | 1756-L73 | 1756-L74 | 1756-L75 | 1756-EN2T | 1756-EN2TR | 1756-PA72 | 1756-PA75 | 1756-IB16I | 1756-OW16I | 1756-IF8H | 1756-OF8H | XXXXX | XXXXX | XXXXX | XXXXX | SPARE DI | SPARE DO | SPARE AI | SPARE AO | Inventory Confirmed by CGS
EXAMPLE | SITE NAME |  |  | 1 | 1 |  | 1 |  |  | 1 |  | 2 |  | 10 | 3 | 3 | 1 |  |  |  |  | 45 | 21 | 23 | 2
EXAMPLE | SITE NAME |  |  |  | 1 | 1 |  |  |  |  | 1 |  | 1 | 6 | 2 | 2 | 2 |  |  |  |  | 96 | 48 | 32 | 16
EXAMPLE | SITE NAME |  |  |  | 1 | 1 |  |  |  |  | 1 |  | 1 | 4 | 2 | 2 | 2 |  |  |  |  | 96 | 48 | 32 | 16
| TOTAL | 0 | 0 | 1 | 3 | 2 | 1 | 0 | 0 | 1 | 2 | 2 | 2 | 20 | 7 | 7 | 5
| STATUS | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE

## Compactlogix
SITE ID | SITE NAME | PROCESSOR |  |  | POWER SUPPLY | EMBEDDED I/O |  |  |  | EXPANSION DI | EXPANSION DO | EXPANSION AI | EXPANSION AO | END CAP | SPARE I/O |  |  |  | COMMENTS
|  | 1769-L24ER-QBFC1B | 1769-L33ER | 1769-L36ERM | 1769-PA4 | 1 - EMBEDDED 16-DC DI | 1 - EMBEDDED 16-DC DO | 1 - EMBEDDED 4 AI | 1 - EMBEDDED 2 AO | 1769-IQ16 | 1769-OW16 | 1769sc-IF4IH | 1769sc-OF4IH | 1769-ECL 1769-ECR | SPARE DI | SPARE DO | SPARE AI | SPARE AO | Inventory Confirmed by CGS
EXAMPLE | SITE NAME | 1 |  |  | 1 | 1 | 1 | 1 | 1 | 1 |  |  |  | 1 | 12 | 10 | 4 | 6
EXAMPLE | SITE NAME |  | 1 |  | 1 |  |  |  |  | 3 | 2 | 2 | 1 | 1 | 14 | 7 | 2 | 5
| TOTAL | 1 | 1 | 0 | 2 | 1 | 1 | 1 | 1 | 4 | 2 | 2 | 1 | 2
| STATUS | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE | ACTIVE

## Instrumentation
Item No. | Facility Name | Facility Code | Device Tag | Device Type | Description | Device Location | Manufacturer | Model No. | Serial No. | Comments | ON APPROVED MANUFACTURER'S LIST (Y/N) | STATUS | Comments
1 | SITE NAME |  |  | Flow Meter | Pump Output Flow | Main Pump Room | Endress & Hauser | Magphant Flow Monitor DTI200-A19C5A | WZ 849416 | Flow meter only. No display. | Y | ACTIVE
2 | SITE NAME |  |  | UPS | Back up for Fibre, Switch, PLC | Main Pump Room | Eaton | PW9130L1000T-XL | GD495A0144 |  | Y | ACTIVE
3 | SITE NAME