## Panel Installation
PLC PANEL INSTALLATION PRE-STARTUP CHECKLIST | PANEL TAG: ______________________ | INSTALLATION COMPLETION DATE ______________________ | CONTRACT NO.: ______________________
ITEM | VERIFY CONTRACTOR | VERIFY CONTRACT ADMINISTRATOR | REMARKS
Installation and mounting, concrete base, visual check for any external/internal damage
Location to other equipment (e.g with respect to accessibility for maintenance, electrical interference)
Tagging and rating nameplates
Panel as built drawings
Conduit routing, transitions, seals, termination, panel entry
Field wiring arrangements in panel, and terminations
Layout and termination of intrinsincally safe wiring
Test (Ground Loop, Continuity, Installation)
Overall compliance with Division 16
* - Indicate [N/A] if not applicable
ADDITIONAL NOTES :
SIGNATURES FOR PRE-START PANEL INSTALLATION CHECKOUT COMPLETE
| CONTRACTOR | CONTRACT ADMINISTRATOR | CITY OF GREATER SUDBURY
| Date: | Date: | Date: