APPROVED INSTRUMENT AND EQUIPMENT MANUFACTURERS, WATER AND WASTEWATER

CONTENT

1	APPROVED INSTRUMENT AND EQUIPMENT MANUFACTURERS, WATER AND WASTEWATER	3

LIST OF TABLES

Table 1: Summary of Manufacturers	3

# APPROVED INSTRUMENT AND EQUIPMENT MANUFACTURERS, WATER AND WASTEWATER

Table 1 below provides a summary of the manufacturers of different types of instruments, as approved by the City of Greater Sudbury for use in their water and wastewater facilities.

A Consultant specifying instrumentation for any water or wastewater project for the City of Greater Sudbury will comply with this document, and will provide their design based on the products from manufacturers’ named herein. Any intended deviation from the information provided in this document must be processed through the standard deviation request, for formalized approval by the City of Greater Sudbury.

Specific notes in the table, indicating “water only” or “wastewater only”, mean that the manufacturer is approved exclusively for either water or wastewater applications.  Otherwise, where the specific note field is blank, the instrument is approved for both water and wastewater.

Table 1: Summary of Manufacturers

| Instrument / Equipment |  | Manufacturer | Specific Note |
| --- | --- | --- | --- |
| Flow |  |  |  |
| Flow - Switch (Thermal) |  | IFM Effector |  |
|  |  | Fluid Components Intl. (FCI) |  |
|  |  | Gems Sensors and Controls |  |
|  |  | Kobold |  |
| Magnetic Flow Meter |  | Endress & Hauser |  |
|  |  | Rosemount (Emerson) | Water Only |
|  |  | ABB | Water Only |
|  |  | Siemens | Water Only |
|  |  | Krohne | Wastewater Only |
| Orifice Plate |  | Lambda Square |  |
|  |  | KLFlow |  |
|  |  | Meriam Instrument |  |
| Parshall Flume |  | Primary Flow Signal (PFS) | Wastewater Only |
|  |  | Badger Meter | Wastewater Only |
|  |  | Engineered Fibreglass Composites (EFC) | Wastewater Only |
| Self Averaging Pitot |  | Rosemount (Annubar) (Emerson) | Wastewater Only |
|  |  | Preso | Wastewater Only |
| Ultrasonic Clamp-on Flow Transmitter |  | Endress & Hauser |  |
|  |  | Siemens | Water Only |
|  |  | Flexim. | Wastewater Only |
| Ultrasonic Flow Transmitter |  | Siemens Milltronics | Wastewater Only |
|  |  | Endress & Hauser | Wastewater Only |
| Variable Area Flow Meter | Rosemount – Brooks (Emerson) | Wastewater Only |
|  | USFilter W&T (Evoqua) | Wastewater Only |
|  | ABB | Wastewater Only |
|  | Krohne | Wastewater Only |
| Venturi Flow Tube |  | PFS (Primary Flow Signal) |  |
|  |  | Badger Meter – Preso |  |
|  |  | KLFlo |  |
|  |  | Flow-Lin |  |
| Level |  |  |  |
| Capacitance Level Switch |  | ABB | Water Only |
|  |  | Siemens | Water Only |
|  |  | Endress & Hauser | Water Only |
|  |  | Arjay | Wastewater Only |
|  |  | TM Technologies (Not exists) | Wastewater Only |
|  |  | AMETEK Drexelbrook | Wastewater Only |
| Capacitance Level Transmitter |  | ABB | Water Only |
|  |  | Siemens | Water Only |
|  |  | Endress & Hauser | Water Only |
| Conductance Level Transmitter |  | ABB | Water Only |
|  |  | Siemens | Water Only |
|  |  | Endress & Hauser | Water Only |
| Differential Pressure Level Transmitter |  | Rosemount (Emerson) |  |
|  |  | ABB | Water Only |
|  |  | Endress & Hauser |  |
|  |  | Bailey (ABB) | Wastewater Only |
| Float Level Switch (Tilt) |  | Flygt (Xylem) |  |
|  |  | Magnetrol | Water Only |
|  |  | Techmark | Water Only |
|  |  | Kobold | Water Only |
|  |  | Foxboro | Water Only |
| Radar Level Transmitter |  | Siemens | Water Only |
|  |  | Endress & Hauser |  |
| Ultrasonic Level Transmitter |  | Siemens Milltronics |  |
| Ultrasonic Level Transmitters - Multipoint |  | Siemens Milltronics |  |
|  |  | Endress & Hauser |  |
| Pressure |  |  |  |
| Differential Pressure Switch |  | Ashcroft Dresser |  |
|  |  | United Electric Control |  |
|  |  | Reotemp Instrument | Water Only |
|  |  | Asco (Emerson) |  |
|  |  | IFM Effector | Water Only |
| Differential Pressure Transmitter |  | Rosemount (Emerson) |  |
|  |  | ABB |  |
|  |  | Endress & Hauser |  |
|  |  | Siemens |  |
|  |  | Siemens/Moore |  |
|  |  | Foxboro (Schneider Electric) | Water Only |
|  |  | Bailey (ABB) | Wastewater Only |
| Pressure Indicator (Gauge) |  | Ashcroft Dresser |  |
|  |  | H.O. Trerice | Water Only |
|  |  | Weiss Instruments |  |
|  |  | Winter -Instruments |  |
|  |  | Kobold | Water Only |
|  |  | WIKA |  |
|  |  | Reotemp Instrument | Water Only |
|  |  | Asco (Emerson) | Wastewater Only |
| Pressure Switch |  | Ashcroft Dresser |  |
|  |  | United Electric Control | Water Only |
|  |  | Dwyer - Mercoid |  |
|  |  | Asco (Emerson) |  |
|  |  | Reotemp Instrument | Water Only |
|  |  | IFM Effector | Water Only |
| Pressure Transmitter |  | Rosemount (Emerson) |  |
|  |  | ABB |  |
|  |  | Endress & Hauser |  |
|  |  | Siemens | Water Only |
|  |  | Foxboro (Schneider Electric) | Water Only |
| Seal - Diaphragm Seal |  | Ashcroft Dresser |  |
|  |  | WIKA |  |
|  |  | Kobold |  |
|  |  | Foxboro (Schneider Electric) |  |
|  |  | H.O. Trerice |  |
|  |  | Reotemp Instrument |  |
| Temperature |  |  |  |
| Ambient Air Temperature Transmitter |  | Pribusin |  |
| Temperature Indicator |  | Ashcroft Dresser |  |
|  |  | H.O. Trerice |  |
|  |  | Weiss Instruments |  |
|  |  | Yokogawa | Wastewater Only |
| Temp. - Indicator (filled system type) |  | Ashcroft Dresser |  |
|  |  | H.O. Trerice |  |
|  |  | Winter Instruments |  |
|  |  | Kobold |  |
|  |  | Reotemp Instrument |  |
|  |  | WIKA |  |
|  |  | Yokogawa | Wastewater Only |
|  |  | Fisher Scientific | Wastewater Only |
| Temperature Switch – Building (Ambient) |  | Honeywell |  |
|  |  | IFM Effector | Water Only |
|  |  | Allen Bradley (Rockwell Automation) | Water Only |
|  |  | Square D (Schneider Electric) | Water Only |
| Temperature Switch – Process |  | Ashcroft Dresser | Water Only |
|  |  | United Electric Control | Water Only |
|  |  | Dwyer - Mercoid | Water Only |
|  |  | Kobold | Water Only |
|  |  | Asco (Emerson) | Water Only |
|  |  | IFM Effector | Water Only |
| Temperature Transmitter |  | Rosemount (Emerson) |  |
|  |  | ABB |  |
|  |  | Endress & Hauser |  |
|  |  | Foxboro (Schneider Electric) |  |
|  |  | Pribusin |  |
|  |  | Yokogawa |  |
|  |  | TempoTech |  |
|  |  | Reotemp Instrument |  |
|  |  | SMAR Industrial Automation |  |
| Temperature Transmitter – RTD |  | Foxboro (Schneider Electric) | Water Only |
|  |  | Rosemount (Emerson) |  |
|  |  | Yokogawa |  |
|  |  | Reotemp Instrument | Water Only |
|  |  | SMAR Industrial Automation | Water Only |
| Temperature Transmitter – Thermocouple |  | Foxboro (Schneider Electric) |  |
|  |  | Honeywell |  |
|  |  | Rosemount (Emerson) |  |
|  |  | Yokogawa |  |
|  |  | Reotemp Instrument | Water Only |
|  |  | SMAR Industrial Automation | Water Only |
| Thermowell |  | Ashcroft Dresser |  |
|  |  | H.O. Trerice |  |
|  |  | Reotemp Instrument/Mac-Weld |  |
|  |  | Winter Instruments |  |
|  |  | Tempotech |  |
|  |  | WIKA |  |
| Analytical |  |  |  |
| Chlorine Analyzer – Free/Residual |  | USFilter W&T (Evoqua) |  |
|  |  | Hach |  |
|  |  | Prominent | Water Only |
| Chlorine Gas Detector |  | USFilter W&T (Evoqua) |  |
|  |  | Capitol Controls |  |
| Conductivity Analyzer |  | Endress & Hauser |  |
|  |  | Rosemount (Emerson) |  |
|  |  | ABB |  |
|  |  | Siemens |  |
| Dissolved Oxygen Analyzer |  | Royce Technologies |  |
| Fluoride Analyzer |  | Prominent | Water Only |
| Particle Analyzer |  | Chemtrac | Water Only |
|  |  | Hach | Water Only |
|  |  | IBR | Water Only |
| pH Analyzer |  | USFilter W&T (Evoqua) | Water Only |
|  |  | Hach |  |
|  |  | ABB | Water Only |
|  |  | Rosemount (Emerson) | Water Only |
|  |  | Endress & Hauser | Water Only |
|  |  | Siemens | Water Only |
| Sludge Blanket Analyzer |  | Royce Technologies |  |
| Total Suspended Solids System |  | Royce Technologies | Wastewater Only |
|  |  | Hach-Great Lakes Instruments | Wastewater Only |
| Turbidity Analyzer |  | Hach | Water Only |
| Gas Detection and Monitoring |  |  |  |
| Combustible Gas Detector – I/R Point Sensor |  | Honeywell |  |
|  |  | MSA |  |
|  |  | Crowcon |  |
| Gas Detector Controller System |  | Honeywell |  |
|  |  | MSA |  |
|  |  | Crowcon |  |
| Hydrogen Sulphite Gas Detector |  | Honeywell |  |
|  |  | MSA |  |
|  |  | Crowcon |  |
| Oxygen (Depletion) Monitor |  | Honeywell |  |
|  |  | MSA |  |
|  |  | Crowcon |  |
| Miscellaneous |  |  |  |
| Control Panels |  | Hoffman |  |
|  |  | Hammond |  |
|  |  | Ralston |  |
| DC Power Supply |  | Wiedmuller |  |
|  |  | Entrelec (ABB) |  |
|  |  | Phoenix Contact |  |
|  |  | Allen Bradley (Rockwell) | Water Only |
| Heat Detector |  | Edwards Signals |  |
|  |  | Fire Detection Devices (Thermoflex) | Water Only |
| Loop Controller |  | Yokogawa |  |
| Motion Detector |  | Siemens Milltronics | Water Only |
|  |  | Honeywell | Wastewater Only |
| Programmable Automation Controller |  | Allen Bradley ControlLogix |  |
| Recorder |  | Endress & Hauser |  |
|  |  | ABB |  |
|  |  | Siemens |  |
| Selector Switches, Pushbutton and Indicator Lights |  | Allen Bradley (Rockwell) |  |
| Sampler |  | Endress & Hauser | Wastewater Only |
| Signal Conditioning Equipment |  | Pribusin |  |
|  |  | Wiedmuller | Water Only |
|  |  | Entrelec (ABB) | Water Only |
|  |  | Phoenix Contact | Water Only |
|  |  | Allen Bradley CompactLogix |  |
| Smoke Detector |  | Edwards Signals |  |
|  |  | Siemens (Cerberus ) |  |
| UPS |  | Eaton/Powerware |  |
|  |  | Liebert (Emerson) | Water Only |
|  |  | Toshiba |  |
|  |  | Mitsubishi | Wastewater Only |
| Valve Limit Switch |  | Honeywell |  |
|  |  | A-T Moniteur | Water Only |
|  |  | Omron | Water Only |
|  |  | Allen-Bradley (Rockwell) |  |
|  |  | Square D (Schneider Electric) | Water Only |