STANDARD SCADA COMPUTER HARDWARE CONFIGURATION SPECIFICATION

| Prepared for: City of Greater Sudbury {Facility Name} {Date} {Revision Number} | Prepared by: {Company Name} |
| --- | --- |

CONTENT

1	DOCUMENT GENERAL INFORMATION	3

2	SPECIFICATION	3

2.1	Computer and Processors	3

2.2	Memory	3

2.3	Power	3

2.4	Hard-drives and Controllers	3

2.5	Network Interface	3

2.6	System Management	3

2.7	Optical Drives	4

2.8	Operating System	4

# DOCUMENT GENERAL INFORMATION

The purpose of this document is to maintain the latest specification of the standard SCADA Computer Hardware Configuration for use in City of Greater Sudbury water and wastewater facilities.

SPECIFICATION

## Computer and Processors

- Dell PowerEdge R520 Rack Server

- PowerEdge R520 Motherboard

- 2 x Intel Xeon E5-2420 v2 2.20GHz, 15MB Cache, 7.2GT/s QPI, Turbo, 6-core, 80W Processors

- 3.5" Chassis with up to 8 Hard-drives

- 1600 MHz Registered Dual In-line Memory Modules (RDIMM)

- Performance optimized

## Memory

- 4 x 4GB RDIMM, 1600MT/s, Low Volt, Single Rank, x8 Data Width

## Power

- 2 x Hot-plug, Redundant Power Supply (1+1), 750W AC

- Power Distribution Board for Hot-plug Power Supplies

## Hard-drives and Controllers

- 3 x 600GB, 15K RPM, 6Gbps SAS, 3.5” Hot-plug Hard Drive

- PERC H710 Integrated RAID Controller, 512MB NV Cache

- RAID 5 for H710P/H710/H310 (3-8 HDDs)

- SAS Cable for Hardware RAID

## Network Interface

- 2 x Embedded Dual Port 1GbE LOM (LAN on Motherboard)

## System Management

- iDRAC Port Card

## Optical Drives

- DVD+/-RW, SATA, Internal

## Operating System

- Microsoft Windows Server 2008 R2 x64, Standard Edition