Pipe Subdrains

Spec 	405 MUNI

S.P. 	#

405.07.06.03	Connection to Drainage Structures

Delete Paragraph 2 and replace with the following:

Subdrain and outlet pipe connections to concrete maintenance holes, catch basins and ditch inlets shall be cored and grouted on the inside and outside of the structure.

405.10.01 	Basis of Payment

Add in the following:

Coring and grouting at all existing structures is included in the Contract price.

* To be included when connecting new subdrain to existing structures