Maintenance Hole, Catch Basin, Ditch Inlet and Valve Chamber Installations
Spec
407 MUNI
SP
##
407.07.01
General 
Add the following:
Where surface asphalt is being placed the following construction season, the following shall apply:

· Temporary asphalt curb, according to GSSD-610.010, shall be placed behind catch basin frames that are installed to binder asphalt elevation, as directed.    
· Asphalt ramping shall be placed around structure frames that are installed to final asphalt elevation, as directed.

· Adjustment of new structure frame & grate/cover from binder asphalt elevation to surface asphalt elevation shall be paid under the item excluding supply of frame & grate/cover.
· If sidewalk is abutting curb, temporary asphalt sidewalk to be placed along the temporary asphalt curb
** Designer Considerations: If sidewalk is abutting curb, temporary asphalt sidewalk to be placed along the temporary asphalt curb {potentially as a separate item (temporary asphalt item)}.
407.09
Measurement for Payment

407.09.01
Actual Measurement

ADD in the following:

407.09.01.05
Stormwater Treatment Unit 
For measurement purposes Stormwater Treatment Unit shall be paid by lump sum.

407.10
Basis of Payment 
407.10.01

Add in the following:
Payment at the Contract price shall include the following: 
· The placement and removal of asphalt ramping.

· Adjustment of Auto-Stable Self-Level Frame and Cover to final asphalt elevation.
ADD in the following:

407.10.04
Stormwater Treatment Unit – Item

Payment at the Contract price for the above item shall be full compensation for all labour, equipment, and material to do the work in accordance with manufacturer’s recommendations.

Only applies for season shutdown contracts where surface asphalt will be placed the following construction season.
�new


�new





407 MUNI – Maintenance Hole, Catch Basin, Ditch Inlet 
February 2026
and Valve Chamber Installation


