New Maintenance Hole, Catch Basin, Ditch Inlet and Valve Chamber Installations
Spec
407 MUNI
SP
##
407.07.01
General 
Add the following:
Where surface asphalt is being placed the following construction season, the following shall apply:

· Temporary asphalt curb, according to GSSD-610.010, shall be placed behind catch basin frames that are installed to binder asphalt elevation, as directed.    
· Asphalt ramping shall be placed around structure frames that are installed to final asphalt elevation, as directed.

· Adjustment of new structure frame & grate/cover from binder asphalt elevation to surface asphalt elevation shall be paid under the item excluding supply of frame & grate/cover.
· If sidewalk is abutting curb, temporary asphalt sidewalk to be placed along the temporary asphalt curb
** Designer Considerations: If sidewalk is abutting curb, temporary asphalt sidewalk to be placed along the temporary asphalt curb {potentially as a separate item (temporary asphalt item)}.
407.10
Basis of Payment 
407.10.01

Add in the following:
Payment at the Contract price shall include the following: 
· The placement and removal of asphalt ramping.

· Adjustment of Auto-Stable Self-Level Frame and Cover to final asphalt elevation.
Only applies for season shutdown contracts where surface asphalt will be placed the following construction season.
407 MUNI – New Maintenance Hole, Catch Basin, Ditch Inlet 
January 2023

and Valve Chamber Installation


