Earth Excavation and Grading

Spec 	206 MUNI,

S.P.	#

206.02		References

Add in the following:

OPSS 120	Use of Explosives

OPSS 180	Management of Excess Materials

206.07		Construction

206.07.03 	Excavation and Grading

206.07.03.01	Earth Excavation – Grading

206.07.03.01.01 General

Delete paragraph 1 and add in the following:

The work shall include excavating, stockpiling, re-using, grading, hauling, handling and placing, shaping, compacting, trimming of earth material, applying temporary cover and the management, removal and disposal of excavated and excess materials as specified in the Contract Documents.

Add in the following:

206.07.03.01.06 Ditching

The work shall include spot ditching and/or cleaning of existing ditches, to maximum excavation depth of 0.5 m, to provide for positive drainage, as directed. Any excavation beyond 0.5 m shall be paid under an excavation item.

206.09 	Measurement For Payment

206.09.01 	Actual Measurement

###### Add in the following:

206.09.01.06 	Ditching

Ditches and swales shall be measured by linear metre.

206.10		Basis of Payment

Add in the following:

206.10.09 	Ditching

Payment at the Contract price for the above tender item shall be full compensation for all labour, Equipment and material to do the work.

206.10.10	Rock Excavation: Utilities – Item

Payment at the contract price for the above item shall be full compensation for all labour, material and equipment required to complete the work without the use of explosives in accordance with the requirements of the Utility owner and as measured in accordance with GSSD 1225.010.

- Designer note:

Highlighted sections apply for contracts with rock excavation for grading purposed

Highlighted sections apply for contracts with a ditching item